## Lump Sum Prices
Bitterns Recycling Field Piping Installation | [5 empty] | PLACE TENDERER COMPANY NAME OR LOGO HERE
Doc No: 23092-RFT-001 Returnable Schedule
Lump Sum Prices
No. | DESCRIPTION | Qty | Unit of Measure (UOM) | $ Rate / UOM | Total Cost | Comments
1 | Project Management & Preliminaries |  |  |  | 269157
1.1 | Project Managment, Supervision , Admin & On-going Operational Costs | 1 | Lump Sum | 80 | 243432
1.2 | Site Facilities | 1 | Lump Sum | 80 | 25725 | Site Hub Powered by Renewable Energy
1.3 |  |  |  |  | 0
1.4 |  |  |  |  | 0
1.5 |  |  |  |  | 0
1.6 |  |  |  |  | 0
1.7 |  |  |  |  | 0
2 | Supply |  |  |  | 1062859.37
2.1 | Contractor Supply as per SOW | 1 | Lump Sum | 1001335.37 | 1001335.37
2.2 | Stand Pipe Option 1 316SS sch 40 | 2 | Each | 18582 | 37164
2.3 | Stand Pipe Off Take Tee 560-110 | 2 | Each | 8390 | 16780
2.4 | Aditional Drain Off Take 560-355 | 1 | Each | 7580 | 7580
2.5
2.6 |  |  |  |  | 0
3 | Mobilisation / Setup / Demobilisation |  |  |  | 201942.44
3.1 | Mobilisation | 1 | Lump Sum | 1 | 76510.72
3.2 | Demobilisation | 1 | Lump Sum | 1 | 54367.72
3.3 | Freight of Equipment Return | 1 | Lump Sum | 1 | 71064
3.4 |  |  |  |  | 0
3.5 |  |  |  |  | 0
3.6 |  |  |  |  | 0
3.7 |  |  |  |  | 0
4 | Site Installation Works |  |  |  | 789912.9
4.1 | Unloading of Pipe 58 trucks | 1 | Days | 24 | 85176
4.2 | 3000m of 560 PN8 PE100 SDR21 | 1 | Days | 6 | 49826.7
4.3 | 14,800m of 560 PN6.3 PE100 SDR26. | 1 | Days | 28 | 298145.4
4.4 | 750m 0f 355 PN8 PE100 SDR17. | 1 | Days | 2 | 9147.6
4.5 | Road Crossings x 10 | 1 | Days | 16 | 108595.2
4.6 | ARV Tie In's 560 | 1 | Days | 12 | 62130.6
4.7 | Flush Water Tie In | 1 | Days | 1.5 | 6293.7
4.8 | Earth Mounding | 1 | Days | 10 | 55692
4.9 | Flow meters/Actuated Valve/Scour Drain Tee | 1 | Days | 7 | 39138.75
5 | 3,200m of 560 PN10 PE100 SDR21 | 1 | Days | 6 | 54362.7
5.1 | Install 2 x Standpipe | 1 | Days | 5 | 21404.25
6 | Other |  |  |  | 498793.952
6.1 | Cost Asscociated with Pre contract legal | 1 | Lump Sum | 1 | 20000
6.2 | Survey | 1 | Days | 7 | 28576.8
6.3 | Freight of pipe 58 Trailers perth | 1 | Lump Sum | 56 | 416556
6.4 | Weather Standdown Personnel & Equipment | 2 | Standown | 16830.576 | 33661.152
6.5 |  |  |  |  | 0
6.6 |  |  |  |  | 0
6.7 |  |  |  |  | 0
Totals |  |  |  |  | 2822665.662
All rates, prices, and costs shall be priced in Australian Dollars (AUD) and shall be exclusive of GST.

## Dayworks Labour Rates
Bitterns Recycling Field Piping Installation |  |  |  | PLACE TENDERER COMPANY NAME OR LOGO HERE
Doc No: 23092-RFT-001 Returnable Schedule
Schedule - Dayworks Labour Rates
No. | LABOUR DESCRIPTION | Day Shift Hourly Rate | Standby Hourly Rate | Comments
2.1 | Operator | 125 | N/A
2.2 | Trades Assistant | 115 | N/A
2.3 | Poly Welder | 125 | N/A
2.4 | Supervisor | 135 | N/A
2.5 | Project Manager | 160 | N/A
2.6 | Administrator | 85 | N/A
2.7 | AIC Technician | 130 | N/A
2.8
2.9
3
3.1
3.2
3.3
All rates, prices, and costs shall be priced in Australian Dollars (AUD) and shall be exclusive of GST.

## Dayworks Plant & Equip Rates
Bitterns Recycling Field Piping Installation | [5 empty] | PLACE TENDERER COMPANY NAME OR LOGO HERE
Doc No: 23092-RFT-001 Returnable Schedule
Dayworks Plant & Equipment Rates
No. | PLANT/EQUIPMENT DESCRIPTION | Size/ Capacity | Operating Hourly Rate (exc operator) | Standby Hourly Rate (exc operator) | Owned/ Hired | Comments
3.1 | Light 4WD Vehicle - D/Cab Ute |  | 20 | 16 | Owned
3.2 | IT Loader |  | 85 | 68 | Hired
3.3 | 35t Excavator |  | 95 | 76 | Owned
3.4 | 2000l fire fighting Trailer |  | 17 | 13 | Owned
3.5 | 6x4 tip truck |  | 70 | 56 | Hired
3.6 | Plate compactor |  | 25 | 15 | Owned
3.7 | TracStar 900 Polywelding Machine c/w dies |  | 95 | 76 | Hired
3.8 | HF350 Polywelding Machine c/w dies |  | 20 | 16 | Owned
3.9 | HF630 Polywelding Machine c/w dies |  | 40 | 32 | Owned
4 | 1500l fuel Trailer |  | 20 | 16 | Owned
4.1 | Shindawa 15kVa Diesel Genset/Welder |  | 10 | 8 | Owned
4.2 | Weather Standdown
4.3
All rates, prices, and costs shall be priced in Australian Dollars (AUD) and shall be exclusive of GST.

## Various
Bitterns Recycling Field Piping Installation |  |  | PLACE TENDERER COMPANY NAME OR LOGO HERE
Doc No: 23092-RFT-001 Returnable Schedule
Various
No. | DESCRIPTION | Qty | Comments
A4.1 | Total Man Nights Required (Accomodation & Messing) | 434 | 80 nights per person
A4.2 | Peak contractor manning per day | 6-10 | stable at 6
A4.3 | Other | 3;1 | Propose 3;1 drive in drive out Rolling roster
A4.4